| HOT WORK PERMIT |  |
| --- | --- |
| Permit Conditions |  |

This permit if required for any hot works which generates heat or sparks when undertake outside of areas specifically constructed, protected, and arranged to accommodate safe hot work processes.

This permit is valid for the duration of the activity described below only and shall be relinquished on completion or expiry of the finish date/time.

| PERMIT Number: |  |  |  |  |
| --- | --- | --- | --- | --- |
| Project: |  |  |  |  |
| WORK IS NOT TO COMMENCE UNTIL A SIGNED AND APPROVED PERMIT IS ON THE WORKSITE |  |  |  |  |
| PART A: Permit Application (Completed by persons intending to complete the Hot Works) |  |  |  |  |
| Name: |  |  | Company: |  |
| Contact Number: |  |  | Date: |  |
| Proposed Works / Type of Work: |  |  |  |  |
| Work Location: |  |  |  |  |
| Start Date: |  | dd/mm/yy | Time: | XX:XX am/pm |
| Finish Date: |  | dd/mm/yy | Time: | XX:XX am/pm |
| Responsible Supervisor: |  |  |  |  |

| PART B: Safe System of Work (Completed by Permit Issuer / Applicant) |  |  |  |
| --- | --- | --- | --- |
| Item | Yes | No | Comments |
| Can this task be done without hot work? | ☐ | ☐ |  |
| Are the personnel working on this hot work task trained and competent? | ☐ | ☐ |  |
| FIRE BAN & RESTRICTIONS HOLD POINT | Yes | No | Information |
| DO NOT proceed if total fire ban is in place and the work is outdoors |  |  |  |
| Any fire ban or restriction in place? | ☐ | ☐ | List Type of Ban: |
| Fire brigade or other emergency services exemption obtained? | ☐ | ☐ | List Reference: |

| Does this permit combine with any other permits? |  |  |  |
| --- | --- | --- | --- |
| Permit | Yes | No | Permit Number |  |
| Service Isolation | ☐ | ☐ |  |  |
| Confined Space | ☐ | ☐ |  |  |
| Working at Height | ☐ | ☐ |  |  |
| Excavation and Ground Penetration | ☐ | ☐ |  |  |
| Other? Provide Details: | ☐ | ☐ |  |  |

| HOT WORK PRECAUTIONS |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Item |  |  |  |  | Yes |  | No |  |  | Comments |  |  |  |
| Portable fire extinguisher required? |  |  |  |  | ☐ |  | ☐ |  |  |  |  |  |  |
| Running hose water required? |  |  |  |  | ☐ |  | ☐ |  |  |  |  |  |  |
| Combustible materials removed from 11m radius? |  |  |  |  | ☐ |  | ☐ |  |  |  |  |  |  |
| Barricading around job site required? |  |  |  |  | ☐ |  | ☐ |  |  |  |  |  |  |
| Phone or 2 way radio required? |  |  |  |  | ☐ |  | ☐ |  |  |  |  |  |  |
| Advise emergency services? |  |  |  |  | ☐ |  | ☐ |  |  |  |  |  |  |
| Area below job to be cleared? |  |  |  |  | ☐ |  | ☐ |  |  |  |  |  |  |
| Hot work signs required? |  |  |  |  | ☐ |  | ☐ |  |  |  |  |  |  |
| Do fixed fire systems need to be isolated? |  |  |  |  | ☐ |  | ☐ |  |  |  |  |  |  |
| Fire blankets required at job site? |  |  |  |  | ☐ |  | ☐ |  |  |  |  |  |  |
| Has area been purged of vapours or product? |  |  |  |  | ☐ |  | ☐ |  |  |  |  |  |  |
| Starting this work will not create a hazard with other work in progress? |  |  |  |  | ☐ |  | ☐ |  |  |  |  |  |  |
| Is a Fire Watch Required? |  |  |  |  | ☐ |  | ☐ |  |  | (If Yes indicate intervals below) |  |  |  |
| Area Tested for Flammable Gas? | ☐ | Yes |  | ☐ |  |  |  | No | ☐ |  |  |  | N/A |
| % Level Result: |  |  | Name: |  |  |  |  |  |  |  | Signature: |  |  |

| FIRE WATCH DETAILS |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| CONTINUOUS (Nominated persons below) |  | CHECK INTERVAL (Every HH:MM) |  | CHECK INTERVAL AFTER COMPLETION OF WORK (up to 4 hours) |  |
| Name: |  | Time: |  | Signature: |  |
| Name: |  | Time: |  | Signature: |  |
| Name: |  | Time: |  | Signature: |  |
| Name: |  | Time: |  | Signature: |  |

| PART C: Approval an Acceptance (Completed by Permit Issuer) |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Permit Commencement Date: | dd/mm/yy |  |  |  | Time: | XX:XX am/pm |  |  |
| Permit Completion Date: | dd/mm/yy |  |  |  | Time: | XX:XX am/pm |  |  |
| As the Permit Issuer, I Authorise the Hot Works to commence in accordance with the Permit conditions outlined above. |  |  |  |  |  |  |  |  |
| Permit Issuer Name: |  | Signature: |  | Date: |  |  | Time: |  |
| Comments: |  |  |  |  |  |  |  |  |
| As the Permit Holder, I confirm that: - A physical walk through has been undertaken with the Responsible Engineer/Supervisor and Permit Issuer; - I fully understand the requirements of this permit including how to comply with the conditions and controls outlined in the permit; and - I have undertaken the required Laing O’Rourke permit to work training and I am an authorised Permit Holder. |  |  |  |  |  |  |  |  |
| Permit Holder Name: |  | Signature: |  | Date: |  |  | Time: |  |

| PART D: Permit Induction (Completed by Permit Holder) |  |  |  |  |
| --- | --- | --- | --- | --- |
| As a member of the Work Crew, I CONFIRM: - I have been briefed / consulted with and understand the conditions of this permit; - I understand and will follow all requirements, conditions listed here within; and - I have signed onto the SWMS and will follow the control measures listed; - I have undertaken a physical walk through with the Permit Holder. |  |  |  |  |
| Inductee Name | Employer | Position | Date | Signature |

| PART E: Permit Closure (Completed by Permit Holder / Permit Issuer) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Works are complete: | ☐ Yes |  | ☐ No | Work site is in a safe condition: |  | ☐ Yes | ☐ No |
| Sign Off |  |  |  |  |  |  |  |
| All works associated with this Permit have been completed, the work area and adjacent areas have been inspected for the duration of the fire watch or at least 30 minutes after completion of hot work and the work area has been cleared of any debris. This permit is now relinquished |  |  |  |  |  |  |  |
| Permit Holder Name: |  |  | Signature: |  | Date: |  | dd/mm/yy |
| Permit Issuer Name: |  |  | Signature: |  | Date: |  | dd/mm/yy |