## Executive Summary
HSE AUDIT TOOL - EXECUTIVE SUMMARY
Workplace / Project |  |  | Audit Date
The purpose of the audit is to assess and verify that the HSE Management System has been effectively established, identify potential risks and opportunities for improvement and provide the project team with additional training in company requirements, as well as highlighting areas of innovation and best practice
Executive Summary
Comments (include summary of audit scope and highlight elements of innovation and best practice)
Specific Areas Needing Attention
Comments
Potential Risk Areas
Comments
Report issued by |  | Date of Issue
Distribution | Project Leader/Workplace Manager, Relevant HSE Lead, Project HSE Lead

## Next Gear
SR NEXT GEAR
SMS NO. | Discipline | Item / SMS Requirement | VERIFICATION / EVIDENCE SIGHTED | COMMENTS / CORRECTIVE ACTION | SCORING
SR 00 | Next Gear | Collective Insights are being utilised on the project
SR 00 | Next Gear | Positive Investigations are being considered for utilisation within the project means.
SR 00 | Next Gear | Pit Lanes / Pit Crews are implemented to engage with the workforce and promote new ways of thinking
SR 00 | Next Gear | Micro experiments are occurring and/or planned within the project where deemed required.
SR 00 | Next Gear | All personnel are Next Gear trained
SR 00 | Next Gear
SR 00 | Next Gear

## Mental Wellbeing
SR Mental Wellbeing
SMS NO. | Discipline | Item / SMS Requirement | VERIFICATION / EVIDENCE SIGHTED | COMMENTS / CORRECTIVE ACTION | SCORING
SR 01 | Risk Assessment and SiD | The list of mental Health champions is up to date and sign posted
Mental Health Awareness Training is provided
SR 01 | Risk Assessment and SiD | SafeSpine SafeMind is delivered on the project by Vitality works or similar provider
SR 01 | Risk Assessment and SiD | Llifeworks EAP details available, promoted and sign posted
Front line leaders and Managers are aware of and have access to details of the EAP Managers hotline
SR 01 | Risk Assessment and SiD | Life@LOR is discussed and sign posted
SR 01 | Risk Assessment and SiD | Toolboxes or other communication relating to Wellbeing delivered?
SR 01 | Risk Assessment and SiD
SR 01 | Risk Assessment and SiD

## RA and SiD
SR RISK ASSESSMENT & SAFETY in DESIGN (SiD)
SMS NO. | Discipline | Item / SMS Requirement | VERIFICATION / EVIDENCE SIGHTED | COMMENTS / CORRECTIVE ACTION | SCORING
SR 01 | Risk Assessment and SiD | Safety in Design (SiD) process is completed and documented for the project
SiD workshop held & attendance record available
SR 01 | Risk Assessment and SiD | Specific Risk assessment completed (Design/Plant)
Specific Risk assessment completed (Hazardous Chemicals)
SR 01 | Risk Assessment and SiD | Design changes documented on Design Change Request Register and the SiD Register is current
SR 01 | Risk Assessment and SiD | Residual design risks identified and carried over to project risk assessment
SR 01 | Risk Assessment and SiD | Project specific risk assessment completed & periodically reviewed by management team
SR 01 | Risk Assessment and SiD | Six monthly reviews conducted, or when SiD/scope/client/regulatory changes occurs
FSR's are implemented on project - including the FSR assessment tool, posters, communicated to supply chian. Scheduled, assigned and completed Sample selection in FieldView
30/60/90 day risk review process is established and effectively utilised

## SWMS and DAB
SR SAFE WORK METHOD STATEMENTS (SWMS) & DAILY ACTIVITY BRIEFINGS (DAB)
SMS NO. | Discipline | Item / SMS Requirement | VERIFICATION / EVIDENCE SIGHTED | COMMENTS / CORRECTIVE ACTION | SCORING
SR 02 | SWMS & Daily Activity Briefings (DABs) | All SWMS's are recorded in a register
SR 02 | SWMS & Daily Activity Briefings (DABs) | SWMS reviews (Part B) are conducted prior to work commencing
SR 02 | SWMS & Daily Activity Briefings (DABs) | SWMS's are task and site specific - as determined by the Project Risk Assessment including Fatal and Severe Risk Standards
SR 02 | SWMS & Daily Activity Briefings (DABs) | The Project Leader / Construction Manager have reviewed and approved all SWMS that have any activities with a high risk residual score (>12)
SR 02 | SWMS & Daily Activity Briefings (DABs) | Task observations (Part C) are being conducted at required frequency
SR 02 | SWMS & Daily Activity Briefings (DABs) | SWMS are developed prior to the work commencing in consultation with those conducting and supervising the works
SR 02 | SWMS & Daily Activity Briefings (DABs) | Workers & Supervisors of the task consulted and signed on SWMS
SR 02 | SWMS & Daily Activity Briefings (DABs) | Daily Activity Briefing/JSA completed in full at start of shift, when new task is started & following incident
SR 02 | SWMS & Daily Activity Briefings (DABs) | Daily Activity Briefing/JSA references relevant SWMS, and is signed by all relevant personnel
SR 02 | SWMS & Daily Activity Briefings (DABs) | Issues raised are recorded and actioned with relevant Supervisor

## Cons & HSE meetings
SR CONSULTATION & HS MEETINGS
SMS NO. | Discipline | Item / SMS Requirement | VERIFICATION / EVIDENCE SIGHTED | COMMENTS / CORRECTIVE ACTION | SCORING
SR 03 | Consultation & HS Meetings | Specific formalised consultation mechanisms utilised on the projects should be documented within the Construction Health and Safety Management Plan.
H&S Committee Constitution has been developed
SR 03 | Consultation & HS Meetings | WHS Representative & Consultation issued to committee & attendance record available
SR 03 | Consultation & HS Meetings | Minutes of H&S Committee Meetings available
SR 03 | Consultation & HS Meetings | Safety Inspections conducted

## Planning
SR PLANNING
SMS NO. | Discipline | Item / SMS Requirement | VERIFICATION / EVIDENCE SIGHTED | COMMENTS / CORRECTIVE ACTION | SCORING
SR 04 | Planning | Construction Health and Safety Management Plan is current and reviewed every 6 months
SR 04 | Planning | HSE activity schedule is in place and being performed
SR 04 | Planning | RACI Chart completed, current & approved by Project Leader
SR 04 | Planning | Objectives & Targets specific to the project established, monitored and reported on (planned versus actual)
SR 04 | Planning | Appointment, roles and responsibilities outlined in Construction Health and Safety Management Plan
SR 04 | Planning | Appointment letters are issued, signed and current records retained
SR 04 | Planning | A monthly report as part of the Contract Review process, including a HSE Dashboard is completed

## Chain Supply Mang
SR SUPPLY CHAIN MANAGEMENT
SMS NO. | Discipline | Item / SMS Requirement | VERIFICATION / EVIDENCE SIGHTED | COMMENTS / CORRECTIVE ACTION | SCORING
SR 05 | Supply Chain Management | ITT Part E (iii) Health and Safety- Questions relating to HSE is completed for all Supply chain partners were applicable
SR 05 | Supply Chain Management | Supply Chain HSE Evaluation Audit has been reviewed and completed by a responsible Laing O'Rourke member
Kick off meeting is held for all supply chain partners
SR 05 | Supply Chain Management | SWMS submitted for review and assessment prior to Supply Chain Mobilisation
Laing O’Rourke senior project/management team and senior members of the Supply Chain Partner to review the PRA and SWMS within 14 days of the commencement of their works.
On- Site Supply Chain Partner project/management leadership is required to participate in monthly contractor HSE leadership meetings and complete monthly high risk work activity HSE inspections
Off-Site Supply Chain Partner senior leadership is required to attend site quarterly and provide a written safety leadership report (Bespoke Audit Form) and activley partake in a Collective Insight session or positive investigation
The minimum expectation is that there is at least 1 supervisor for every 10 people on a project/site for identified high risk activities.
All supervisors must complete the Laing O’Rourke Frontline Leader Module 1 or the agreed equivalent prior to mobilisation and successfully complete all of the Module 2 activities within the first 28 days of mobilisation to project/site.
Supply Chain Partners (inc. Specialist) are required to have an appointed and qualified HSE support person, either off or on-site, dependent on the risk profile with intermittent project/site visits as required
Specialist Supply Chain Partners are required to have an appointed and qualified, full-time, on-site HSE support person for the project if their scope of work has a greater than two severe safety and/or environmental score based on their procurement assessment and/or multiple significant high risk activities based on the Project Risk Assessment completed prior to mobilisation.
Supply Chain Partners must ensure suitable and sufficient provision of resources to satisfy all necessary health, safety and environmental appointments and deputies where appropriate
Daily Work Area Inspections are conducted, actions developed as required. Positive observations and hazards shall be recorded through Gearbox or an agreed process.
Weekly Inspections of their work area and record findings with high risk actions communicated within the weekly report
SR 05 | Supply Chain Management | Supply chain partner to complete an audit against their compliance to Laing O’Rourke’s Health, Safety and Environmental Management System and Plans for their scope of works on a 6-monthly basis.
Laing O’Rourke is required to: • Complete an Operational Readiness review within 12 weeks of Supply Chain Partner mobilisation
Laing O’Rourke is required to: Complete an audit against the Supply Chain Partner for compliance to the agreed Health, Safety and Environmental Management System and Plans for their scope of works on a 6-monthly basis
Laing O’Rourke is required to: Establish a Supply Chain Partner HSE activity schedule that will audit implementation of Health, Safety and the Environment across the project/site. The schedule shall be maintained and monitored by the Laing O’Rourke HSE Manager with input from relevant operational personnel such as engineers and supervisors.
All audits and actions shall be uploaded to IMPACT and tracked. Laing O’Rourke shall actively engage with Supply Chain Partners at each stage of the audit, review and continual improvements process.
SR 05 | Supply Chain Management | Supply Chain Partner performance shall be monitored monthly by Laing O’Rourke through a traffic light system.

## Change Management
SR CHANGE MANAGEMENT
SMS NO. | Discipline | Item / SMS Requirement | VERIFICATION / EVIDENCE SIGHTED | COMMENTS / CORRECTIVE ACTION | SCORING
SR 06 | Change Management | Change Management system (inc consulatation) is in place
Design Change, Project Risk Assessment, Safe Work Method Statements, Collective Insights, Plant Hazard Assessments, Chemical Risk Assessments, Pre-Start Meetings and Toolbox Meetings are utilised support risk analysis, management and communication of change.
SR 06 | Change Management | Where these don’t effectively support the change management then the workplace is to identify a suitable alternative such as the Laing O'Rourke template Change Request form.

## Leadership Engagement
SR LEADERSHIP ENGAGEMENT
SMS NO. | Discipline | Item / SMS Requirement | VERIFICATION / EVIDENCE SIGHTED | COMMENTS / CORRECTIVE ACTION | SCORING
SR 07 | Leadership Engagement | Project Directors/Project Leaders/Workplace Leaders shall conduct monthly HSE leadership visits.
SR 07 | Leadership Engagement | Each project/workplace shall have a minimum of 4 senior HSE leadership visits per year.
Project Directors/Project Leaders/Workplace Leaders shall visit other workplaces to conduct peer HSE leadership visits, no less frequently than on an annual basis
Formal HSE Leadership Engagement Visits will be undertaken using the HSE Leadership Engagement Template, or similar and uploaded into IMPACT

## OnB, Training, Induction & VOC
SR ONBOARDING, TRAINING, INDUCTIONS & VERIFICATION of COMPETENCY (VOC)
SMS NO. | Discipline | Item / SMS Requirement | VERIFICATION / EVIDENCE SIGHTED | COMMENTS / CORRECTIVE ACTION | SCORING
SR 08 | Onboarding, Training, Inductions and VOC | Training need analysis completed for the project requirements
SR 08 | Onboarding, Training, Inductions and VOC | Project specific induction developed from template, to include but not limited to; current site activities, site risks, controls, rules, mental health information and emergency procedures
SR 08 | Onboarding, Training, Inductions and VOC | Toolbox talks held and documented, these can be used as a form of training
SR 08 | Onboarding, Training, Inductions and VOC | Visitors inducted and signed in on Visitors Logbook/ Electronic Sign In database
SR 08 | Onboarding, Training, Inductions and VOC | Current High Risk Work Licenses held by workers carrying out high risk activities & VOC in place
SR 08 | Onboarding, Training, Inductions and VOC | Verification of Competency conducted by Cert IV assessor whom also holds the classification of ticket/license for all High Risk Work Licenses and powered mobile plant operators
SR 08 | Onboarding, Training, Inductions and VOC | All persons involved in making deliveries or pick-ups at Laing O’Rourke project worksites are required to complete a Delivery Drivers Induction as a minimum.

## Insp, Audits & CA
SR INSPECTIONS, AUDITS & CORRECTIVE ACTIONS
SMS NO. | Discipline | Item / SMS Requirement | VERIFICATION / EVIDENCE SIGHTED | COMMENTS / CORRECTIVE ACTION | SCORING
SR 09 | Inspections, Audits & Corrective Actions | Site inspection matrix in place and current
SR 09 | Inspections, Audits & Corrective Actions | Site weekly inspections are performed by the nominated persons or groups as per the project schedule using Management Site Safety and Environment Inspection checklist or alternative
Where inspections of work areas include an assessment of supply chain work, representatives from the supply chain work crew or their supervisors should be included in the inspection of their work area.
SR 09 | Inspections, Audits & Corrective Actions | Close out identified issues in a timely manner and formally acknowledge closure on the prescribed form
An audit schedule will be maintained by the HSE Leaders and audits conducted in accordance with the schedule allowing for flexibility where necessary.
Corrective actions must be entered into Impact (or approved equivalent for Joint Ventures etc.) and monitored to ensure close out in a timely manner.
SR 09 | Inspections, Audits & Corrective Actions | Sampling of previous corrective actions should be undertaken as part of regular auditing to verify close out to a satisfactory standard.

## Emergency response
SR EMERGENCY PLANNING & RESPONSE
SMS NO. | Discipline | Item / SMS Requirement | VERIFICATION / EVIDENCE SIGHTED | COMMENTS / CORRECTIVE ACTION | SCORING
SR 10 | Emergency Plan & Response | Each Project or workplace must develop controls for dealing with emergencies, including a site specific Emergency Response Plan and Evacuation Plan for potential health, safety and environmental emergencies. The plan must include fire safety procedures.
SR 10 | Emergency Plan & Response | The Project Leader shall designate roles and responsibilities for emergency planning and response taking into account the persons experience and ability to undertake their designated role.
SR 10 | Emergency Plan & Response | The person designated as Emergency Response Coordinator shall hold overall responsibility for the planning and response to emergencies on site.
SR 10 | Emergency Plan & Response | As a minimum level of training, all wardens and those with allocated responsibilities must be inducted into the Emergency Response Plan and evacuation procedures.
SR 10 | Emergency Plan & Response | The information required for emergency response and emergency evacuation must be communicated to all personnel as part of site induction and the site plan and evacuation procedure should be displayed in a prominent accessible location
SR 10 | Emergency Plan & Response | Where a project or workplace is vulnerable to cyclone events Cyclone Preparedness and Response Plan is to be used in conjunction with or form part of the approved Emergency Response Plan.
SR 10 | Emergency Plan & Response | If personnel are working and/or accommodated within premises under the control of a 3rd party or client (where deemed by contract) however the checklists associated with Cyclone Preparedness and Response Plan are to be completed and complied with in full.
SR 10 | Emergency Plan & Response | In a building under construction: -Not less than one fire extinguisher to suit Class A, B and C fires and electrical fires must be provided at all times on each storey adjacent to each required exit or temporary stairway or exit; and
SR 10 | Emergency Plan & Response | After the building has reached an effective height of 12 m: -The required fire hydrants and fire hose reels must be operational in at least every storey that is covered by the roof or the floor structure above, except the 2 uppermost storeys; and -Any required booster connections must be installed.
SR 10 | Emergency Plan & Response | The emergency response process is to be periodically tested (Emergency Drill) at intervals not exceeding 6 months
SR 10 | Emergency Plan & Response | The drill will be recorded by the coordinator and signed by the relevant health and safety personnel, environmental personnel and Project Leader / Workshop Manager on Emergency Response Drill Record.
SR 10 | Emergency Plan & Response
SR 10 | Emergency Plan & Response
SR 10 | Emergency Plan & Response
SR 10 | Emergency Plan & Response
SR 10 | Emergency Plan & Response
SR 10 | Emergency Plan & Response
SR 10 | Emergency Plan & Response

## Health Monitoring and Surv
SR HEALTH MONITORING & SURVEILLANCE
SMS NO. | Discipline | Item / SMS Requirement | VERIFICATION / EVIDENCE SIGHTED | COMMENTS / CORRECTIVE ACTION | SCORING
SR 11 | Health Monitoring & Surveillance | Pre-employment medicals provide a baseline against which employee health can be monitored.
Where applicable Project Risk Assessment has identified the need for Health surveillance monitoring of employees to identify any changes that may be due to occupational exposure to a hazard.
SR 11 | Health Monitoring & Surveillance | Where it is determined that there is a potential hazardous exposure to any employee, consult with a medical practitioner / specialist (e.g. the same one who performs pre-employment medicals for the project or workplace) to develop a health surveillance programme.
SR 11 | Health Monitoring & Surveillance | There is a sampling frequency schedule including type of test and monitoring duration
At induction or at a pre-start meeting, notify the employee/s of the hazardous substance, environment or activity, and the details of the health surveillance program
When reviewing a supply chain company's program it must be determined whether its intent complies with the Laing O'Rourke processes for health surveillance. If necessary send the program to the medical practitioner for review. The program must be monitored to ensure it is implemented.

## Event Mang and Rep
SR EVENT MANAGEMENT & REPORTING
SMS NO. | Discipline | Item / SMS Requirement | VERIFICATION / EVIDENCE SIGHTED | COMMENTS / CORRECTIVE ACTION | SCORING
SR 12 | Event Management & Reporting | The supervisor is responsible for ensuring the relevant project personnel are notified, including Health and Safety and Environmental teams and the senior leadership team.
Once all notifications have been completed and the classification has been agreed, the event will be recorded into IMPACT by the Site Health and Safety or Environmental Manager ensuring that details are concise and factual, under the guidance of the Legal Team.
The responsible Director shall attend the workplace within 24 hours where an Actual or Potential Class 1 event occurs (with consideration for remote project travel) and is responsible for ensuring that a Hub wide ‘Flash Alert’ is issued to communicate the incident occurring.
Actual and potential Class 1 events shall be investigated using an approved root cause analysis tool such as ICAM or TapRoot by a suitably qualified person.
The investigation report should be written in formal detail in line with the investigation methodology
Once the investigation report has been finalised by the site and approved by Legal, a Directors review shall be undertaken
Post the Directors review the worksite Project Leader (and Operations Manager) will undertake a Collective Insight Process for the incident
Post the Directors review the worksite Project Leader (and Operations Manager) will distribute Lessons Learned Bulletin
All events must be entered into IMPACT, Laing O’Rourke Online Incident Notification and Investigation Reporting Tool within 24 hour
SR 12 | Event Management & Reporting | Where it is a requirement to notify the Regulator the site should first discuss the event with the relevant HSE or Environmental Leader.
SR 12 | Event Management & Reporting | An investigation is to be completed for all HS and E events. The level of detail for the investigation is to be commensurate with the level of risk of harm associated with the event. Corrective actions are to be developed for all HS and E events
Where a Class 1 actual or potential event has occurred the Project/Workplace Leader must provide a status report within 24 hours to the responsible Director and HSE Leader.
Within 3 days the responsible Director will be actively involved in the investigation process, and be able to discuss the event in detail at the Event Review meeting.
The event investigation report and review of the effectiveness of the event response, actions and procedures will be completed within 14 days of the event, unless an extension is agreed with the responsible Director / HSE Leader for significant or complex events.
The responsible Director is responsible to ensure that investigations are complete, outcomes / actions are appropriate to the class of the event and the standard of the HSE Learning Bulletin is suitable for publication to the hub.
SR 12 | Event Management & Reporting | The project HSE lead or environmental lead shall ensure all corrective actions and causal factors are logged in IMPACT. Findings from the investigation are to be used by the project team to develop corrective actions and recommendations
SR 12 | Event Management & Reporting | All investigations are to be reviewed and signed by the Project Leader.
SR 12 | Event Management & Reporting | Project and business stream monitors effective closure of corrective actions from event investigations.

## Injury Managment &RTW
SR INJURY MANAGEMENT & RETURN to WORK
SMS NO. | Discipline | Item / SMS Requirement | VERIFICATION / EVIDENCE SIGHTED | COMMENTS / CORRECTIVE ACTION | SCORING
SR 13 | Injury Management & Return to Work | Where the injured party is a LORAC employee or representative the Workers Compensation Team must be notified within 1 hour of seeking medical assessment.
SR 13 | Injury Management & Return to Work | Where an injured LORAC employee is required to attend a medical centre or hospital they should be accompanied by a LORAC representative who has the authority and knowledge to both advise and negotiate suitable duties available at the site or workplace with the treating medical practitioner.
SR 13 | Injury Management & Return to Work | It is a requirement under all State's Workers Compensation/Injury Management and Rehabilitation legislation that an employer must complete a RTW Plan/Workplace Rehabilitation Plan for all injured employees
SR 13 | Injury Management & Return to Work | Wherever possible a draft Workplace Rehabilitation Plan and a copy of the "Important Information for Treating Doctor" must be taken to the appointment.
SR 13 | Injury Management & Return to Work | All medical certification, related accounts and/or receipts must be forwarded to the Workers Compensation Team (workerscomp@laingorourke.com.au) the State appropriate claim documentation within 24 hours of receipt for lodgement by the Workers Compensation Team.
SR 13 | Injury Management & Return to Work | The Project Safety Advisor and/or Return to Work Coordinator is responsible for the implementation of the Injury Management and Rehabilitation Program with assistance from the Workers Compensation Team
SR 13 | Injury Management & Return to Work | Obtain a final clearance certificate before returning the person to their pre-injury duties.
SR 13 | Injury Management & Return to Work | A workplace rehabilitation plan which must be approved by the treating doctor - matches the injured person's abilities with appropriate work tasks and work hours.
SR 13 | Injury Management & Return to Work | Before commencing work on a project, supply chain companies must nominate in writing a contact person for rehabilitation matters. Supply chain companies must comply with LORAC requirements at all times.

## Sheet1
Process is Functional
Opportunity to improve process
Process not in place

## Header (hidden)
3 - OFI
2 - Minor NC
1 - Major NC
0 - Complies