|  |  |
| --- | --- |
|  | **PRE ENERGISATION FORM**FORM |

**Sections 1 – 2** to be completed by prior to application

|  |
| --- |
| Section 1 – Details |
| Date |  |
| Area (WBS)  |  |
| Sub-system |  |
| Service (s) to be energised |  |

|  |  |
| --- | --- |
| **Section 2 – Pre Energistation-Checks** | Complete? |
|  | **Yes** | **No** | **N/A** |
| All works have been completed as per the AFC design documentation |[ ] [ ] [ ]
| All earthing cables have been installed as required (e.g. cable containment earthing) |[ ] [ ] [ ]
| All cable and equipment labels installed |[ ] [ ] [ ]
| All switchboards have been cleaned and are free of dust, debris, water or condensation |[ ] [ ] [ ]
| All dead tests including point to point testing is complete |[ ] [ ] [ ]
| All relevant ITC’s have been completed in FieldView |[ ] [ ] [ ]
| Room or area of building is in a suitable state (e.g. water tight, minimal dust, clear access to all equipment etc) |[ ] [ ] [ ]
| Redline mark-ups are up to date |[ ] [ ] [ ]
| Internal defects closed out |[ ] [ ] [ ]
| All downstream isolations in place |[ ] [ ] [ ]
| Mechanical guarding in please where required |[ ] [ ] [ ]

|  |  |
| --- | --- |
| **Section 3** **–** **Pre Energisation Checklist Internal Sign Off** |  |
| Sign off of Pre Energisation check list only to be done after *(Insert Contactor Company Name)* internal inspections and internal defects list is closed out. Walkdown invitation to be submitted no later than 7 days out from planned energisation. | **Position** | **Name** | **Signature** | **Date** | **Time** |
| *(Insert Contactor Company Name)* **Project Manager** |  |  |  |  |
| *(Insert Contactor Company Name)* **Commissioning Lead** |  |  |  |  |
| **Senior Project Engineer** |  |  |  |  |
| *(Insert Contactor Company Name)* **Construction PIC** |  |  |  |  |

|  |  |
| --- | --- |
| **Section 4 – LOR Walk Down** | Complete? |
|  | **Yes** | **No** | **N/A** |
| Commissioning zone established |[ ] [ ] [ ]
| All ITCs in FieldView complete |[ ] [ ] [ ]
| All relevant earthing complete incl. test sheets |[ ] [ ] [ ]
| All labels, schedules and SLD up to date and available at the boards |[ ] [ ] [ ]
| All boards clean inside |[ ] [ ] [ ]
| All 3rd parties notified |[ ] [ ] [ ]
| LOR defects closed out |[ ] [ ] [ ]

|  |
| --- |
| **SECTION 5 – Comments** |
|  |

|  |  |
| --- | --- |
| **Section 6** **–** **Walkdown Concluded, All Defects Closed Out** |  |
| Section to be signed off once LOR defects are closed out. Once LOR has signed off, PTE is submittedMinimum 2 signatures required from each company  | **Position** | **Name** | **Signature** | **Date** | **Time** |
| *(Insert Contactor Company Name)* **Project Manager** |  |  |  |  |
| *(Insert Contactor Company Name)* **Commissioning Lead** |  |  |  |  |
| *(Insert Contactor Company Name)***Senior Project Engineer** |  |  |  |  |
| **LOR Commissioning Lead** |  |  |  |  |
| **LOR Senior Project Engineer** |  |  |  |  |
| **LOR Superintendent**  |  |  |  |  |